## Slide 1: Fire Modelling of Energy-Efficient Apartment Buildings – Consideration of air-tightness and mechanical ventilation
Simo Hostikka
Aalto University, Finland
Fire and Evacuation Modelling Technical Conference (FEMTC) 2016

## Slide 2: Background

## Slide 3: The project
Partners
  Aalto University
  Stravent Oy
  Southwest Finland Rescue Service
  Markku Kauriala Oy
  VTT Technical Research Centre of Finland Ltd.
Sponsors
  Finnish Fire Protection Fund
  Hagab AB
  Criminal Sactions Agency
  Ministry of Environment
Thanks to
  Rahul Kallada Janardhan
  Umar Riaz
  Topi Sikanen (VTT)

## Slide 4: Fire experiments
3-storey apartment building in Kurikka, western Finland
Built in 1970’s.
Windows renewed few years ago.
Tests in a 1st floor apartment
58.5 m2
https://www.youtube.com/watch?v=0Ss_ONolzLY

## Slide 5: Air tightness measurements
SFS-EN 13829, Mikko Yli-Piipari / Vertia Oy

## Slide 6: Results of the air-tightness
RakMK D3 (2012)
Requirement: q50  4 m3/hm2
Recommendation: q50  1 m3/hm2
NFPA 92 (2012):
Very loose: Aleak/Aenv = 12 10-4
Loose: Aleak/Aenv = 3.5 10-4
Average: Aleak/Aenv = 1.7 10-4
Tight: Aleak/Aenv = 0.50 10-4

## Slide 7: Ventilation configurations
CLOSED OPEN NORMAL

## Slide 8: Fire loads
Group 1 (10 tests)
3 L n-heptane
0.7 m x 0.7 m pool
Group 2 (3 tests)
PUF matress of about 3 kg
Both fires were ultrafast (tg < 75 s)

## Slide 9: Measurements
Mfuel
Tgas (x 5)
Tgas (x 5)
O2, CO2, CO
Pressure
Pressure
Exhaust
Exhaust

## Slide 11: Gas temperatures
Heptane fires PUF fires

## Slide 12: Gas pressure
Heptane fires PUF fires

## Slide 13: Flow speed in exhaust duct
Test 2-4: OPEN
Test 5-7: NORMAL
BR = bathroom
C = closet
Heptane pool fires